## Mesures
message_id | site_id | zone | asset_type | sensor | measured_at | value | unit | sequence | topic | clé | limite | direction | alerte
battery-shelter-01-battery_voltage-0000 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-09 06:00 | 12.6 | volt | 0 | airbase/batch005/battery-shelter-01/battery_voltage/0000
battery-shelter-01-battery_voltage-0001 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-09 12:00 | 12.5 | volt | 1 | airbase/batch005/battery-shelter-01/battery_voltage/0001
battery-shelter-01-battery_voltage-0002 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-09 18:00 | 12.4 | volt | 2 | airbase/batch005/battery-shelter-01/battery_voltage/0002
battery-shelter-01-battery_voltage-0003 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-09 23:00 | 12.4 | volt | 3 | airbase/batch005/battery-shelter-01/battery_voltage/0003
battery-shelter-01-battery_voltage-0004 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-10 06:00 | 12.3 | volt | 4 | airbase/batch005/battery-shelter-01/battery_voltage/0004
battery-shelter-01-battery_voltage-0005 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-10 12:00 | 12.2 | volt | 5 | airbase/batch005/battery-shelter-01/battery_voltage/0005
battery-shelter-01-battery_voltage-0006 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-10 18:00 | 12.1 | volt | 6 | airbase/batch005/battery-shelter-01/battery_voltage/0006
battery-shelter-01-battery_voltage-0007 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-10 23:00 | 12 | volt | 7 | airbase/batch005/battery-shelter-01/battery_voltage/0007
battery-shelter-01-battery_voltage-0008 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-11 06:00 | 11.9 | volt | 8 | airbase/batch005/battery-shelter-01/battery_voltage/0008
battery-shelter-01-battery_voltage-0009 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-11 12:00 | 11.7 | volt | 9 | airbase/batch005/battery-shelter-01/battery_voltage/0009
battery-shelter-01-battery_voltage-0010 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-11 18:00 | 11.6 | volt | 10 | airbase/batch005/battery-shelter-01/battery_voltage/0010
battery-shelter-01-battery_voltage-0011 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | battery_voltage | 2026-11-11 23:00 | 11.4 | volt | 11 | airbase/batch005/battery-shelter-01/battery_voltage/0011
battery-shelter-01-temperature-0000 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-09 06:00 | 31 | celsius | 0 | airbase/batch005/battery-shelter-01/temperature/0000
battery-shelter-01-temperature-0001 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-09 12:00 | 33 | celsius | 1 | airbase/batch005/battery-shelter-01/temperature/0001
battery-shelter-01-temperature-0002 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-09 18:00 | 34 | celsius | 2 | airbase/batch005/battery-shelter-01/temperature/0002
battery-shelter-01-temperature-0003 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-09 23:00 | 33.2 | celsius | 3 | airbase/batch005/battery-shelter-01/temperature/0003
battery-shelter-01-temperature-0004 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-10 06:00 | 32 | celsius | 4 | airbase/batch005/battery-shelter-01/temperature/0004
battery-shelter-01-temperature-0005 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-10 12:00 | 34 | celsius | 5 | airbase/batch005/battery-shelter-01/temperature/0005
battery-shelter-01-temperature-0006 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-10 18:00 | 34.8 | celsius | 6 | airbase/batch005/battery-shelter-01/temperature/0006
battery-shelter-01-temperature-0007 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-10 23:00 | 33.6 | celsius | 7 | airbase/batch005/battery-shelter-01/temperature/0007
battery-shelter-01-temperature-0008 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-11 06:00 | 33 | celsius | 8 | airbase/batch005/battery-shelter-01/temperature/0008
battery-shelter-01-temperature-0009 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-11 12:00 | 34.9 | celsius | 9 | airbase/batch005/battery-shelter-01/temperature/0009
battery-shelter-01-temperature-0010 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-11 18:00 | 35.6 | celsius | 10 | airbase/batch005/battery-shelter-01/temperature/0010
battery-shelter-01-temperature-0011 | base-projetee-alpha | battery-shelter-01 | drone_battery_storage | temperature | 2026-11-11 23:00 | 34.4 | celsius | 11 | airbase/batch005/battery-shelter-01/temperature/0011
comms-shelter-01-lora_rssi-0000 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-09 06:00 | -68 | dbm | 0 | airbase/batch005/comms-shelter-01/lora_rssi/0000
comms-shelter-01-lora_rssi-0001 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-09 12:00 | -70 | dbm | 1 | airbase/batch005/comms-shelter-01/lora_rssi/0001
comms-shelter-01-lora_rssi-0002 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-09 18:00 | -72 | dbm | 2 | airbase/batch005/comms-shelter-01/lora_rssi/0002
comms-shelter-01-lora_rssi-0003 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-09 23:00 | -69 | dbm | 3 | airbase/batch005/comms-shelter-01/lora_rssi/0003
comms-shelter-01-lora_rssi-0004 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-10 06:00 | -67 | dbm | 4 | airbase/batch005/comms-shelter-01/lora_rssi/0004
comms-shelter-01-lora_rssi-0005 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-10 12:00 | -71 | dbm | 5 | airbase/batch005/comms-shelter-01/lora_rssi/0005
comms-shelter-01-lora_rssi-0006 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-10 18:00 | -73 | dbm | 6 | airbase/batch005/comms-shelter-01/lora_rssi/0006
comms-shelter-01-lora_rssi-0007 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-10 23:00 | -70 | dbm | 7 | airbase/batch005/comms-shelter-01/lora_rssi/0007
comms-shelter-01-lora_rssi-0008 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-11 06:00 | -66 | dbm | 8 | airbase/batch005/comms-shelter-01/lora_rssi/0008
comms-shelter-01-lora_rssi-0009 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-11 12:00 | -69 | dbm | 9 | airbase/batch005/comms-shelter-01/lora_rssi/0009
comms-shelter-01-lora_rssi-0010 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-11 18:00 | -72 | dbm | 10 | airbase/batch005/comms-shelter-01/lora_rssi/0010
comms-shelter-01-lora_rssi-0011 | base-projetee-alpha | comms-shelter-01 | communications | lora_rssi | 2026-11-11 23:00 | -68 | dbm | 11 | airbase/batch005/comms-shelter-01/lora_rssi/0011
comms-shelter-01-temperature-0000 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-09 06:00 | 28 | celsius | 0 | airbase/batch005/comms-shelter-01/temperature/0000
comms-shelter-01-temperature-0001 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-09 12:00 | 29 | celsius | 1 | airbase/batch005/comms-shelter-01/temperature/0001
comms-shelter-01-temperature-0002 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-09 18:00 | 29.4 | celsius | 2 | airbase/batch005/comms-shelter-01/temperature/0002
comms-shelter-01-temperature-0003 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-09 23:00 | 28.6 | celsius | 3 | airbase/batch005/comms-shelter-01/temperature/0003
comms-shelter-01-temperature-0004 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-10 06:00 | 28.2 | celsius | 4 | airbase/batch005/comms-shelter-01/temperature/0004
comms-shelter-01-temperature-0005 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-10 12:00 | 29.2 | celsius | 5 | airbase/batch005/comms-shelter-01/temperature/0005
comms-shelter-01-temperature-0006 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-10 18:00 | 29.6 | celsius | 6 | airbase/batch005/comms-shelter-01/temperature/0006
comms-shelter-01-temperature-0007 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-10 23:00 | 28.8 | celsius | 7 | airbase/batch005/comms-shelter-01/temperature/0007
comms-shelter-01-temperature-0008 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-11 06:00 | 28.4 | celsius | 8 | airbase/batch005/comms-shelter-01/temperature/0008
comms-shelter-01-temperature-0009 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-11 12:00 | 29.4 | celsius | 9 | airbase/batch005/comms-shelter-01/temperature/0009
comms-shelter-01-temperature-0010 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-11 18:00 | 29.8 | celsius | 10 | airbase/batch005/comms-shelter-01/temperature/0010
comms-shelter-01-temperature-0011 | base-projetee-alpha | comms-shelter-01 | communications | temperature | 2026-11-11 23:00 | 29 | celsius | 11 | airbase/batch005/comms-shelter-01/temperature/0011
fuel-storage-01-temperature-0000 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-09 06:00 | 28.4 | celsius | 0 | airbase/batch005/fuel-storage-01/temperature/0000
fuel-storage-01-temperature-0001 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-09 12:00 | 29 | celsius | 1 | airbase/batch005/fuel-storage-01/temperature/0001
fuel-storage-01-temperature-0002 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-09 18:00 | 29.6 | celsius | 2 | airbase/batch005/fuel-storage-01/temperature/0002
fuel-storage-01-temperature-0003 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-09 23:00 | 29.2 | celsius | 3 | airbase/batch005/fuel-storage-01/temperature/0003
fuel-storage-01-temperature-0004 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-10 06:00 | 28.6 | celsius | 4 | airbase/batch005/fuel-storage-01/temperature/0004
fuel-storage-01-temperature-0005 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-10 12:00 | 29.2 | celsius | 5 | airbase/batch005/fuel-storage-01/temperature/0005
fuel-storage-01-temperature-0006 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-10 18:00 | 29.8 | celsius | 6 | airbase/batch005/fuel-storage-01/temperature/0006
fuel-storage-01-temperature-0007 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-10 23:00 | 29.4 | celsius | 7 | airbase/batch005/fuel-storage-01/temperature/0007
fuel-storage-01-temperature-0008 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-11 06:00 | 28.8 | celsius | 8 | airbase/batch005/fuel-storage-01/temperature/0008
fuel-storage-01-temperature-0009 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-11 12:00 | 29.4 | celsius | 9 | airbase/batch005/fuel-storage-01/temperature/0009
fuel-storage-01-temperature-0010 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-11 18:00 | 30 | celsius | 10 | airbase/batch005/fuel-storage-01/temperature/0010
fuel-storage-01-temperature-0011 | base-projetee-alpha | fuel-storage-01 | fuel_storage | temperature | 2026-11-11 23:00 | 29.6 | celsius | 11 | airbase/batch005/fuel-storage-01/temperature/0011
it-room-01-humidity-0000 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-09 06:00 | 46 | percent | 0 | airbase/batch005/it-room-01/humidity/0000
it-room-01-humidity-0001 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-09 12:00 | 48 | percent | 1 | airbase/batch005/it-room-01/humidity/0001
it-room-01-humidity-0002 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-09 18:00 | 50 | percent | 2 | airbase/batch005/it-room-01/humidity/0002
it-room-01-humidity-0003 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-09 23:00 | 47 | percent | 3 | airbase/batch005/it-room-01/humidity/0003
it-room-01-humidity-0004 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-10 06:00 | 46 | percent | 4 | airbase/batch005/it-room-01/humidity/0004
it-room-01-humidity-0005 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-10 12:00 | 49 | percent | 5 | airbase/batch005/it-room-01/humidity/0005
it-room-01-humidity-0006 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-10 18:00 | 51 | percent | 6 | airbase/batch005/it-room-01/humidity/0006
it-room-01-humidity-0007 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-10 23:00 | 48 | percent | 7 | airbase/batch005/it-room-01/humidity/0007
it-room-01-humidity-0008 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-11 06:00 | 47 | percent | 8 | airbase/batch005/it-room-01/humidity/0008
it-room-01-humidity-0009 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-11 12:00 | 49 | percent | 9 | airbase/batch005/it-room-01/humidity/0009
it-room-01-humidity-0010 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-11 18:00 | 52 | percent | 10 | airbase/batch005/it-room-01/humidity/0010
it-room-01-humidity-0011 | base-projetee-alpha | it-room-01 | tactical_it | humidity | 2026-11-11 23:00 | 48 | percent | 11 | airbase/batch005/it-room-01/humidity/0011
it-room-01-temperature-0000 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-09 06:00 | 31 | celsius | 0 | airbase/batch005/it-room-01/temperature/0000
it-room-01-temperature-0001 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-09 12:00 | 32 | celsius | 1 | airbase/batch005/it-room-01/temperature/0001
it-room-01-temperature-0002 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-09 18:00 | 32.6 | celsius | 2 | airbase/batch005/it-room-01/temperature/0002
it-room-01-temperature-0003 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-09 23:00 | 31.8 | celsius | 3 | airbase/batch005/it-room-01/temperature/0003
it-room-01-temperature-0004 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-10 06:00 | 31.2 | celsius | 4 | airbase/batch005/it-room-01/temperature/0004
it-room-01-temperature-0005 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-10 12:00 | 32.2 | celsius | 5 | airbase/batch005/it-room-01/temperature/0005
it-room-01-temperature-0006 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-10 18:00 | 32.8 | celsius | 6 | airbase/batch005/it-room-01/temperature/0006
it-room-01-temperature-0007 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-10 23:00 | 32 | celsius | 7 | airbase/batch005/it-room-01/temperature/0007
it-room-01-temperature-0008 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-11 06:00 | 31.4 | celsius | 8 | airbase/batch005/it-room-01/temperature/0008
it-room-01-temperature-0009 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-11 12:00 | 32.4 | celsius | 9 | airbase/batch005/it-room-01/temperature/0009
it-room-01-temperature-0010 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-11 18:00 | 33 | celsius | 10 | airbase/batch005/it-room-01/temperature/0010
it-room-01-temperature-0011 | base-projetee-alpha | it-room-01 | tactical_it | temperature | 2026-11-11 23:00 | 32.2 | celsius | 11 | airbase/batch005/it-room-01/temperature/0011
maintenance-zone-01-temperature-0000 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-09 06:00 | 30 | celsius | 0 | airbase/batch005/maintenance-zone-01/temperature/0000
maintenance-zone-01-temperature-0001 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-09 12:00 | 30.4 | celsius | 1 | airbase/batch005/maintenance-zone-01/temperature/0001
maintenance-zone-01-temperature-0002 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-09 18:00 | 30.6 | celsius | 2 | airbase/batch005/maintenance-zone-01/temperature/0002
maintenance-zone-01-temperature-0003 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-09 23:00 | 30.2 | celsius | 3 | airbase/batch005/maintenance-zone-01/temperature/0003
maintenance-zone-01-temperature-0004 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-10 06:00 | 30.1 | celsius | 4 | airbase/batch005/maintenance-zone-01/temperature/0004
maintenance-zone-01-temperature-0005 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-10 12:00 | 30.5 | celsius | 5 | airbase/batch005/maintenance-zone-01/temperature/0005
maintenance-zone-01-temperature-0006 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-10 18:00 | 30.7 | celsius | 6 | airbase/batch005/maintenance-zone-01/temperature/0006
maintenance-zone-01-temperature-0007 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-10 23:00 | 30.3 | celsius | 7 | airbase/batch005/maintenance-zone-01/temperature/0007
maintenance-zone-01-temperature-0008 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-11 06:00 | 30.2 | celsius | 8 | airbase/batch005/maintenance-zone-01/temperature/0008
maintenance-zone-01-temperature-0009 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-11 12:00 | 30.6 | celsius | 9 | airbase/batch005/maintenance-zone-01/temperature/0009
maintenance-zone-01-temperature-0010 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-11 18:00 | 30.8 | celsius | 10 | airbase/batch005/maintenance-zone-01/temperature/0010
maintenance-zone-01-temperature-0011 | base-projetee-alpha | maintenance-zone-01 | light_maintenance | temperature | 2026-11-11 23:00 | 30.4 | celsius | 11 | airbase/batch005/maintenance-zone-01/temperature/0011
medical-post-01-humidity-0000 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-09 06:00 | 47 | percent | 0 | airbase/batch005/medical-post-01/humidity/0000
medical-post-01-humidity-0001 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-09 12:00 | 49 | percent | 1 | airbase/batch005/medical-post-01/humidity/0001
medical-post-01-humidity-0002 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-09 18:00 | 51 | percent | 2 | airbase/batch005/medical-post-01/humidity/0002
medical-post-01-humidity-0003 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-09 23:00 | 48 | percent | 3 | airbase/batch005/medical-post-01/humidity/0003
medical-post-01-humidity-0004 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-10 06:00 | 46 | percent | 4 | airbase/batch005/medical-post-01/humidity/0004
medical-post-01-humidity-0005 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-10 12:00 | 49 | percent | 5 | airbase/batch005/medical-post-01/humidity/0005
medical-post-01-humidity-0006 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-10 18:00 | 52 | percent | 6 | airbase/batch005/medical-post-01/humidity/0006
medical-post-01-humidity-0007 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-10 23:00 | 48 | percent | 7 | airbase/batch005/medical-post-01/humidity/0007
medical-post-01-humidity-0008 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-11 06:00 | 47 | percent | 8 | airbase/batch005/medical-post-01/humidity/0008
medical-post-01-humidity-0009 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-11 12:00 | 50 | percent | 9 | airbase/batch005/medical-post-01/humidity/0009
medical-post-01-humidity-0010 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-11 18:00 | 52 | percent | 10 | airbase/batch005/medical-post-01/humidity/0010
medical-post-01-humidity-0011 | base-projetee-alpha | medical-post-01 | medical_post | humidity | 2026-11-11 23:00 | 49 | percent | 11 | airbase/batch005/medical-post-01/humidity/0011
medical-post-01-temperature-0000 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-09 06:00 | 22 | celsius | 0 | airbase/batch005/medical-post-01/temperature/0000
medical-post-01-temperature-0001 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-09 12:00 | 23 | celsius | 1 | airbase/batch005/medical-post-01/temperature/0001
medical-post-01-temperature-0002 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-09 18:00 | 23.4 | celsius | 2 | airbase/batch005/medical-post-01/temperature/0002
medical-post-01-temperature-0003 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-09 23:00 | 22.8 | celsius | 3 | airbase/batch005/medical-post-01/temperature/0003
medical-post-01-temperature-0004 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-10 06:00 | 22.2 | celsius | 4 | airbase/batch005/medical-post-01/temperature/0004
medical-post-01-temperature-0005 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-10 12:00 | 23.2 | celsius | 5 | airbase/batch005/medical-post-01/temperature/0005
medical-post-01-temperature-0006 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-10 18:00 | 23.6 | celsius | 6 | airbase/batch005/medical-post-01/temperature/0006
medical-post-01-temperature-0007 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-10 23:00 | 23 | celsius | 7 | airbase/batch005/medical-post-01/temperature/0007
medical-post-01-temperature-0008 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-11 06:00 | 22.4 | celsius | 8 | airbase/batch005/medical-post-01/temperature/0008
medical-post-01-temperature-0009 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-11 12:00 | 23.4 | celsius | 9 | airbase/batch005/medical-post-01/temperature/0009
medical-post-01-temperature-0010 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-11 18:00 | 23.8 | celsius | 10 | airbase/batch005/medical-post-01/temperature/0010
medical-post-01-temperature-0011 | base-projetee-alpha | medical-post-01 | medical_post | temperature | 2026-11-11 23:00 | 23.2 | celsius | 11 | airbase/batch005/medical-post-01/temperature/0011
optronics-shelter-01-humidity-0000 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-09 06:00 | 41 | percent | 0 | airbase/batch005/optronics-shelter-01/humidity/0000
optronics-shelter-01-humidity-0001 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-09 12:00 | 43 | percent | 1 | airbase/batch005/optronics-shelter-01/humidity/0001
optronics-shelter-01-humidity-0002 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-09 18:00 | 45 | percent | 2 | airbase/batch005/optronics-shelter-01/humidity/0002
optronics-shelter-01-humidity-0003 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-09 23:00 | 42 | percent | 3 | airbase/batch005/optronics-shelter-01/humidity/0003
optronics-shelter-01-humidity-0004 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-10 06:00 | 41 | percent | 4 | airbase/batch005/optronics-shelter-01/humidity/0004
optronics-shelter-01-humidity-0005 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-10 12:00 | 44 | percent | 5 | airbase/batch005/optronics-shelter-01/humidity/0005
optronics-shelter-01-humidity-0006 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-10 18:00 | 46 | percent | 6 | airbase/batch005/optronics-shelter-01/humidity/0006
optronics-shelter-01-humidity-0007 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-10 23:00 | 43 | percent | 7 | airbase/batch005/optronics-shelter-01/humidity/0007
optronics-shelter-01-humidity-0008 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-11 06:00 | 42 | percent | 8 | airbase/batch005/optronics-shelter-01/humidity/0008
optronics-shelter-01-humidity-0009 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-11 12:00 | 44 | percent | 9 | airbase/batch005/optronics-shelter-01/humidity/0009
optronics-shelter-01-humidity-0010 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-11 18:00 | 46 | percent | 10 | airbase/batch005/optronics-shelter-01/humidity/0010
optronics-shelter-01-humidity-0011 | base-projetee-alpha | optronics-shelter-01 | optronics | humidity | 2026-11-11 23:00 | 43 | percent | 11 | airbase/batch005/optronics-shelter-01/humidity/0011
optronics-shelter-01-temperature-0000 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-09 06:00 | 27.5 | celsius | 0 | airbase/batch005/optronics-shelter-01/temperature/0000
optronics-shelter-01-temperature-0001 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-09 12:00 | 28 | celsius | 1 | airbase/batch005/optronics-shelter-01/temperature/0001
optronics-shelter-01-temperature-0002 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-09 18:00 | 28.3 | celsius | 2 | airbase/batch005/optronics-shelter-01/temperature/0002
optronics-shelter-01-temperature-0003 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-09 23:00 | 27.9 | celsius | 3 | airbase/batch005/optronics-shelter-01/temperature/0003
optronics-shelter-01-temperature-0004 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-10 06:00 | 27.6 | celsius | 4 | airbase/batch005/optronics-shelter-01/temperature/0004
optronics-shelter-01-temperature-0005 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-10 12:00 | 28.1 | celsius | 5 | airbase/batch005/optronics-shelter-01/temperature/0005
optronics-shelter-01-temperature-0006 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-10 18:00 | 28.4 | celsius | 6 | airbase/batch005/optronics-shelter-01/temperature/0006
optronics-shelter-01-temperature-0007 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-10 23:00 | 28 | celsius | 7 | airbase/batch005/optronics-shelter-01/temperature/0007
optronics-shelter-01-temperature-0008 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-11 06:00 | 27.7 | celsius | 8 | airbase/batch005/optronics-shelter-01/temperature/0008
optronics-shelter-01-temperature-0009 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-11 12:00 | 28.2 | celsius | 9 | airbase/batch005/optronics-shelter-01/temperature/0009
optronics-shelter-01-temperature-0010 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-11 18:00 | 28.5 | celsius | 10 | airbase/batch005/optronics-shelter-01/temperature/0010
optronics-shelter-01-temperature-0011 | base-projetee-alpha | optronics-shelter-01 | optronics | temperature | 2026-11-11 23:00 | 28.1 | celsius | 11 | airbase/batch005/optronics-shelter-01/temperature/0011

## Seuils
asset_type | sensor | direction | limite | note | clé
drone_battery_storage | temperature | >= | 35 | seuil pédagogique commun
communications | temperature | >= | 35 | seuil pédagogique commun
tactical_it | temperature | >= | 35 | seuil pédagogique commun
light_maintenance | temperature | >= | 35 | seuil pédagogique commun
optronics | temperature | >= | 35 | seuil pédagogique commun
fuel_storage | temperature | >= | 28 | vapeurs inflammables : seuil réel plus bas (cf. séquence 5)
medical_post | temperature | >= | 30 | conservation de matériel médical sensible à la chaleur
tactical_it | humidity | >= | 60 | risque de condensation sur les équipements informatiques
optronics | humidity | >= | 55 | risque de buée sur l'optique
medical_post | humidity | >= | 55 | conservation de matériel médical sensible à l'humidité
drone_battery_storage | battery_voltage | <= | 11.5 | tension basse : cellule dégradée par la chaleur
communications | lora_rssi | <= | -90 | signal LoRa trop faible pour une transmission fiable

## Indicateurs
Indicateurs de référence (équivalents formule d'un TCD zone x capteur)
zone | moyenne_temperature | maximum_temperature
battery-shelter-01
comms-shelter-01
fuel-storage-01
it-room-01
maintenance-zone-01
medical-post-01
optronics-shelter-01
Maximum de température par jour — battery-shelter-01
jour | maximum_temperature
2026-11-09
2026-11-10
2026-11-11
Série pour le graphique — battery-shelter-01
heure | température (°C) | tension batterie (V)
J1 06h
J1 12h
J1 18h
J1 23h
J2 06h
J2 12h
J2 18h
J2 23h
J3 06h
J3 12h
J3 18h
J3 23h

## Note de décision
Champ | Réponse
Décision | Vérifier en priorité battery-shelter-01 et fuel-storage-01.
Confiance (très faible / faible / moyenne / élevée) | Moyenne sur ces deux zones ; faible pour toute conclusion basée sur un seuil unique appliqué à toute la base.
Preuve 1 (zone, capteur, valeur, date) | battery-shelter-01, temperature, 35,6 °C, 2026-11-11 18:00 (seul le 3e jour franchit le seuil).
Preuve 2 (zone, capteur, valeur, date) | fuel-storage-01, temperature, 28,4 à 30,0 °C sur les 12 mesures, toutes au-dessus du seuil réel de 28 °C.
Incertitude 1 | La dérive de tension de battery-shelter-01 pourrait se stabiliser ou s'accélérer au-delà du 3e jour.
Incertitude 2 | Le seuil réel de 28 °C pour fuel-storage-01 reste un choix pédagogique, pas une norme vérifiée sur le terrain.
Vérification prioritaire | Inspection physique de la batterie de battery-shelter-01 ; contrôle du système de ventilation de fuel-storage-01.